Todo List (June 24, 2011; Group Meeting)

To Do Before Expt.

* QDCs from MONA – Bill
* AC Coupling Boards –Jimmy/Mike Y
* Reference times (Jack/Bec, Not done Yet)
	+ Put in a pulser, check that three 1190 TDCs line up
* S800 PID (Jack)
	+ Check to see how much statistics we have
* Miniball thresholds (Rachel/Dan)
	+ Pedestal run
	+ Set QDC thresholds
	+ Check Disc Thresholds
* LASSA CsI (Jack)
	+ Lower ADC thresholds
	+ Check Disc thresholds
	+ Match CsI to Si?
* Pulser Ramps for LASSA (Jack, Zibi)