## Sheet1
I2103 | pin | xmylar
alpha | program | FWHM | channel with highest counts |  |  |  | E(Run 17) | E(pin source) |  | raw channel
8.785 | 2815.75 | 18.2 | 2816 |  |  |  |  | 8.6277 | 8.785 | 2774.69 | 2825.19 | 50.5 | 8.7558 | 0.15731
6.778 | 2168.27 | 15.96 | 2166 |  |  |  | 6.8057 | 6.5924 | 6.778 | 2121.32 | 2180.731 |  |  | 0.1856
6.288 | 2011.11 | 14.98 | 2010 |  |  |  | 6.314 | 6.1085 | 6.288 | 1965.97 | 2027.5566 |  |  | 0.17952
6.062 | 1939.95 | 18.08 | 1937 | 1939 | (channels have similar counts) |  | 5.7055 | 5.4796 | 5.685 | 1764.1 | 1828.3639 |  |  | 0.20536
5.685 | 1817.04 | 13.22 | 1817 |  |  |  | 5.4398 | 5.2086 | 5.423 | 1677.08 | 1742.5071 |  |  | 0.21443
5.423 | 1732.98 | 14.22 | 1733 | [5 empty] | 6.06 |  | 1948.99 |  | 6.0396
I2103 | pin | mylar
alpha | program | FWHM | channel with highest counts |  |  | calculated energy from pin source fit
8.785 | 2823.13 | 11.83 | 2823 | 2824 | 2825
8.785 | 2774.69 | 11.63 | 2771 | 2772 | 2773 | 8.6277
6.778 | 2121.32 | 18.46 | 2121 | 2123 |  | 6.5924
6.288 | 1965.97 | 19.73 | 1961 | 1964 |  | 6.1085
6.062 | 1886.4 | 8.32 | 1886 | 1889 |  | 5.8606
5.685 | 1764.1 | 14.56 | 1761 | 1763 |  | 5.4796
5.423 | 1677.08 | 9.82 | 1676 | 1679 |  | 5.2086
Pin
alpha | program | FWHM | channel with highest counts
8.785 | 2825.19 | 12.96 | 2824-2827 |  | 50.5
6.062 | 1948.99 | 16 | 1949 |  | 62.59
slope | offset |  | -9.44
0.0031151 | -0.015641 |  | -9.04
pin source fit
Stopping power estimation
Slope | offest
-4.44 | 89.505
6.778 | 59.411
6.288 | 61.5866
5.685 | 64.2639
5.423 | 65.4271

## Sheet2
228Th | 22-492I | 34-097G | 22-492I
| channel | channel | channel
8.785 | 2823.2 | 2823.97 | 2815.75
6.778 | 2176.86 | 2177.26 | 2168.27 |  | SUMMARY for Betty |  |  | E_loss
6.288 | 2018.76 | 2019.32 | 2011.11 |  | Au window thickness |  | 0.093 um | 32 keV
5.685 | 1824.07 | 1824.72 | 1939.95 |  | mylar foil |  | 1.03 um | 118 keV
5.423 | 1739.19 | 1740.17 | 1817.04
1732.98
Pin source
| 22-492I | 34-097G | 22-492I
| channel | channel | channel
| 2834.3 | 2834.77 | 2825.19
| 1955.43 | 1955.49 | 1948.99
mean
Differernce in 8.785MeV | 11.1 | 10.8 | 9.44 |  | 10.4467
Gold-window | (8.785MeV alpha particle)
Energy loss | 0.032385 | 8.7526
Thickness | 0.093
Mylar-foil | (8.752615MeV alpha particle)
Energy loss | 0.11778
Thickness | 1.03 |  |  |  | For the yellow column, the effect is |  |  |  | Energy_R: energy used for fitting
[5 empty] | cumulative |  |  |  | by rachel which is the original alpha
Checking | (6.062MeV alpha particle) | [7 empty] | particle energy
Energy loss (E) | 0.19403 |  |  |  | Energy_Fit: energy from linear fit |  |  |  | Energy_R2: energy that rachel said the loss is somewhat
Energy loss (T) | 0.18923 |  |  |  | and the difference is compared |  |  |  | arbitrary. The difference is compared with the one pass through
[5 empty] | with pass Mylar |  |  |  | 1um Deadlayer
| pass Au | pass Mylar | pass Deadlayer(0.5um) | pass Deadlayer(0.5um) | Energy_Fit | Difference | Energy_R | Difference | Energy_Run16,17,70,71 | Energy_R2 | Difference
8.785 | 8.7528 | 8.6351 | 8.584 | 8.5327 | 8.6277 | 0.0074106 | 8.7849 | -0.25216 | 8.8057 | 8.5215 | 0.011188
6.778 | 6.7414 | 6.6006 | 6.5394 | 6.4778 | 6.5924 | 0.0081985 | 6.7783 | -0.3005 | 6.8057 | 6.4593 | 0.018538
6.288 | 6.2499 | 6.1006 | 6.0358 | 5.9713 | 6.1085 | -0.0078767 | 6.2881 | -0.31678 | 6.314 | 5.9547 | 0.016617
5.685 | 5.6452 | 5.4864 | 5.4173 | 5.3475 | 5.4796 | 0.0067608 | 5.6854 | -0.33787 | 5.7055 | 5.3276 | 0.01988
5.423 | 5.3822 | 5.2175 | 5.1458 | 5.0735 | 5.2086 | 0.0089334 | 5.4231 | -0.34965 | 5.4398 | 5.0489 | 0.024608