## Summary
Summary of most recent monitoring data |  |  |  | Don't change anything on this page |  |  | GO TO http://tinyurl.com/SPiRIT2015MT
Temperatures: | Max AsAd Temp | Top Plate A | Top Plate B | Top Plate 1 | Gas Bottle: | Flow rate | Gas bottle changed | liters used | Run-out Estimate
| 35 | 26.4 | 26.8 | 26.6 |  | 1.00 | 3/25/2016 20:43:13 | 98125.72292 | 3/30/2016 17:23:13
Updated: | 10/22/2015 22:25:27 | 10/29/2015 22:04:54 | 10/29/2015 22:04:54 | 10/29/2015 22:04:54 | Updated: | 4/28/2016 16:51:25 | 3/25/2016 20:43:13 | 6/2/2016 0:08:57 | 6/2/2016 0:08:57
Beam Settings: | Current beam | Beam Rate |  |  | Field Cage HV | cathode(kV) | perimeter(kV) | TGT ladder bias (kV) | Anode (kV)
| 79 Se | 10^5 |  |  |  | 0 | 0 | 0 | 0
Updated: | 4/28/2016 16:51:25 | 4/28/2016 16:51:25 |  |  | Updated: | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/29/2015 22:04:54
GGD settings: | Average voltage | Offset | Upper | Lower | Scintillator settings | BL Veto (kV) | BR Veto (kV) | Start Counter (kV) | Downstream Veto (kV)
| -100 | 0 | -100 | -100 |  | -1200 | -1401 | -1300 | -1206
Updated: | 10/29/2015 9:57:03 | 10/22/2015 0:32:36 | 10/22/2015 0:32:36 | 10/22/2015 0:32:36 | Updated: | 10/29/2015 7:13:15 | 10/22/2015 15:25:59 | 10/29/2015 7:13:15 | 10/29/2015 7:13:15
Trigger settings: | Trigger condition: |  | Veto Condition: |  | Active Veto | Top (V) | BR (V) | BL (V) | Bottom (V)
| Start counter, Kyoto Array |  | BL/BR paddles, DS Veto |  |  | 0 | 0 | 0 | 0
Updated: | 10/29/2015 8:25:57 |  | 10/29/2015 8:25:57 |  | Updated: | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00
Run: | Run Number: | Last comment: |  |  | Target settings | x (mm) | y (mm) | z (mm) US side of tgt | Target
| 105 | testing |  |  | in pad plane frame | -10.48221628 | -203.22 | -26.0 | 0.5 mm Sn
Updated: | 4/28/2016 16:51:25 | 10/21/2015 16:10:33 |  |  | Updated: | 2/1/2016 14:12:01 | set at alignment | 2/1/2016 14:12:01 | 2/1/2016 14:12:01
|  | To add: |  |  |  | link to this page | http://tinyurl.com/SPiRITsummary

## calculations
Timestamp | Use this option to manually set the time for this submission | actual time | Run Number: | Choose other settings to record | Maximum AsAd Temperature | Temp A | Temp B | Small Thermometer | Choose other settings to record | New Gas bottle | Flow rate (L/min) | Choose other settings to record | Cathode HV supply (in kV) | Target ladder bias (in kV) | Choose other settings to record | GGD Low | Offset voltage | Choose other settings to record | Beam Left scintillator | Beam Right scintillator | Start counter | Veto (rear) | Choose other settings to record | Top Plastic | Beam Right Plastic | Beam Left Plastic | Bottom Plastic | Choose other settings to record | R(X1,X2) in Ohms | R(Z1,Z2) in Ohms | Choose target: | Choose other settings to record | Triggering on: | Choose other settings to record | Beam Type | Beam rate | Beam divergence | Choose other settings to record | Run Comments | Choose which settings to record | Please describe the veto | Vetoing on: | Anode voltage (in V) | Magnet Strength | Select this option to manually enter time
4/28/2016 16:51:25 | 9/18/2131 11:55:00 | 42298.76736 | 105 | Gas Settings | 35 | 26.4 | 26.8 | 26.6 | Field cage voltage | New Gas bottle | 1.00 | Last page (submit) | 0 | 0 | Scintillator settings | -100 | 0 | Last page (submit) | -1200 | -1401 | -1300 | -1206 | Last page (submit) | 0 | 0 | 0 | 0 | Last page (submit) | 1180 | 6140 | Position 1 - 0.1 mm Sn | Last page (submit) | Start counter, Kyoto Array | Last page (submit) | 79 Se | 10^5 | 33 | Last page (submit) | testing | Beam settings | Please describe the veto | BL/BR paddles, DS Veto | 0 | 0.5 | Select this option to manually enter time
index |  |  | 68 | 4 | 35 | 59 | 59 | 59 | 59 | 67 | 36 | 4 | 40 | 40 | 30 | 54 | 14 | 23 | 51 | 30 | 51 | 51 | 14 | 40 | 40 | 40 | 40 | 2 | 65 | 65 | 7 | 15 | 53 | 13 | 68 | 68 | 68 | 7 | 2 | 25 | 1 | 53 | 59 | 68 | 1
updated time: |  |  | 4/28/2016 16:51:25 | 10/21/2015 16:53:29 | 10/22/2015 22:25:27 | 10/29/2015 22:04:54 | 10/29/2015 22:04:54 | 10/29/2015 22:04:54 | 10/29/2015 22:04:54 | 3/25/2016 20:43:13 | 10/21/2015 14:26:00 | 10/21/2015 16:53:29 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/22/2015 15:25:59 | 10/29/2015 9:57:03 | 10/22/2015 0:32:36 | 10/22/2015 14:42:49 | 10/29/2015 7:13:15 | 10/22/2015 15:25:59 | 10/29/2015 7:13:15 | 10/29/2015 7:13:15 | 10/22/2015 0:32:36 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/23/2015 10:18:00 | 10/21/2015 16:10:33 | 2/1/2016 14:12:01 | 2/1/2016 14:12:01 | 10/21/2015 0:00:00 | 10/20/2015 13:00:00 | 10/29/2015 8:25:57 | 10/21/2015 21:16:22 | 4/28/2016 16:51:25 | 4/28/2016 16:51:25 | 4/28/2016 16:51:25 | 10/21/2015 0:00:00 | 10/21/2015 16:10:33 | 10/22/2015 14:50:52 | Use this option to manually set the time for this submission | 10/29/2015 8:25:57 | 10/29/2015 22:04:54 | 4/28/2016 16:51:25 | Use this option to manually set the time for this submission
[13 empty] | 195.530377 | [15 empty] | x position of target 3: |  | target list:
[27 empty] | -84.51778372 |  | -105.4822163 | -25.605654 | 0.1 mm Sn
[10 empty] | 3/30/2016 17:23:13 | 1.00 | #N/A | 4/28/2016 16:51:25 | 98125.72292 | [12 empty] | -10.48221628 |  | active target: | -57.005654 | empty
[8 empty] | dot |  |  |  |  | 10/19/2015 10:00:00 | [15 empty] | 0.5 mm Sn | -25.705654 | 0.2 mm Sn
[13 empty] | 2015-10-20 13:00 | 0 | [14 empty] | z position of active target: | -73.0757781 | 9 mm Al
[13 empty] | 2015-10-21 | 0 | [14 empty] | -26.005654 | -26.005654 | 0.5 mm Sn
[13 empty] | 2015-10-21 | 0
[13 empty] | 2015-10-21 14:26 | 0 | [14 empty] | 1.18 | 6.14
[10 empty] | New Gas bottle | 1 |  | 2015-10-21 14:26 | 0 |  | 1.00
[13 empty] | 2015-10-21 16:11 | 104.5435667 |  | 1.00 | [10 empty] | test: |  | 5.721
[13 empty] | 2015-10-21 16:53 | 147.4800667 |  | 1.00
[13 empty] | 2015-10-21 17:02 | 155.66275 |  | 1.00 | [13 empty] | 59.643346
[13 empty] | 2015-10-21 17:08 | 161.99825 |  | 1.00
[13 empty] | 2015-10-21 18:12 | 226.4589 |  | 1.00 | [14 empty] | testing: |  | testing:
[13 empty] | 2015-10-21 18:18 | 232.1927167 |  | 1.00 | [14 empty] | -71.0757781 |  | -28.005654
[13 empty] | 2015-10-21 18:25 | 239 |  | 1.00
[13 empty] | 2015-10-21 20:15 | 348.6912333 |  | 1.00
[13 empty] | 2015-10-21 20:15 | 349.2673167 |  | 1.00
[13 empty] | 2015-10-21 21:16 | 410.3724333 |  | 1.00
[13 empty] | 2015-10-22 00:33 | 606.5999333 |  | 1.00
[13 empty] | 2015-10-22 03:25 | 778.8776167 |  | 1.00
[13 empty] | 2015-10-22 03:25 | 779.2555167 |  | 1.00
[13 empty] | 2015-10-22 03:27 | 780.5802667 |  | 1.00
[13 empty] | 2015-10-22 10:32 | 1205.516167 |  | 1.00
[13 empty] | 2015-10-22 10:49 | 1222.808217 |  | 1.00
[13 empty] | 2015-10-22 14:39 | 1453 |  | 1.00
[13 empty] | 2015-10-22 14:43 | 1456.821567 |  | 1.00
[13 empty] | 2015-10-22 14:50 | 1463.715467 |  | 1.00
[13 empty] | 2015-10-22 14:51 | 1464.8674 |  | 1.00
[13 empty] | 2015-10-22 14:51 | 1465.2721 |  | 1.00
[13 empty] | 2015-10-22 14:52 | 1465.893633 |  | 1.00
[13 empty] | 2015-10-22 14:54 | 1467.554933 |  | 1.00
[13 empty] | 2015-10-22 14:59 | 1473.0515 |  | 1.00
[13 empty] | 2015-10-22 15:26 | 1499.975717 |  | 1.00
[13 empty] | 2015-10-22 15:31 | 1505.477967 |  | 1.00
[13 empty] | 2015-10-22 15:43 | 1516.911433 |  | 1.00
[13 empty] | 2015-10-22 16:01 | 1535.25465 |  | 1.00
[13 empty] | 2015-10-22 22:25 | 1919.4482 |  | 1.00
[13 empty] | 2015-10-23 07:21 | 2454.933267 |  | 1.00
[13 empty] | 2015-10-23 08:21 | 2515.425433 |  | 1.00
[11 empty] | 0.51275 |  | 2015-10-23 10:07 | 2620.620133 |  | 0.51
[13 empty] | 2015-10-23 10:18 | 2626.457245 |  | 0.51
[13 empty] | 2015-10-24 11:15 | 3394.10168 |  | 0.51
[13 empty] | 2015-10-24 23:52 | 3782.021308 |  | 0.51
[13 empty] | 2015-10-26 09:41 | 4822.586065 |  | 0.51
[10 empty] | New Gas bottle | 1 |  | 2015-10-27 17:00 | 0 |  | 1.00
[13 empty] | 2015-10-27 17:09 | 9.219299995 |  | 1.00
[13 empty] | 2015-10-27 17:09 | 9.540750005 |  | 1.00
[13 empty] | 2015-10-27 17:13 | 13.03666667 |  | 1.00
[13 empty] | 2015-10-27 17:17 | 16.85901666 |  | 1.00
[13 empty] | 2015-10-29 07:11 | 2290.9484 |  | 1.00
[13 empty] | 2015-10-29 07:13 | 2293.328867 |  | 1.00
[13 empty] | 2015-10-29 07:18 | 2298.190383 |  | 1.00
[13 empty] | 2015-10-29 08:26 | 2366.0372 |  | 1.00
[13 empty] | 2015-10-29 09:57 | 2457.13625 |  | 1.00
[13 empty] | 2015-10-29 14:39 | 2739.251317 |  | 1.00
[13 empty] | 2015-10-29 14:44 | 2744.397917 |  | 1.00
[13 empty] | 2015-10-29 15:54 | 2813.821333 |  | 1.00
[11 empty] | 0.5 |  | 2015-10-29 22:03 | 3183.141983 |  | 0.50
[13 empty] | 2015-10-29 22:05 | 3184.062733 |  | 0.50
[13 empty] | 2015-11-02 17:12 | 5917.372217 |  | 0.50
[13 empty] | 2015-11-03 09:29 | 6405.973283 |  | 0.50
[13 empty] | 2015-11-26 17:30 | 23206.61288 |  | 0.50
[13 empty] | 2016-01-11 23:59 | 56521.17421 |  | 0.50
[13 empty] | 2016-01-12 00:05 | 56524.2251 |  | 0.50
[13 empty] | 2016-02-01 14:12 | 71347.61969 |  | 0.50
[11 empty] | 1 |  | 2016-03-25 20:41 | 109702.2899 |  | 1.00
[10 empty] | New Gas bottle | 1 |  | 2016-03-25 20:43 | 0 |  | 1.00
[13 empty] | 2016-04-28 16:51 | 48728.19128 |  | 1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00
1.00

## Response_copy_shallow
Timestamp | Use this option to manually set the time for this submission | actual time | Run Number: | Choose other settings to record | Maximum AsAd Temperature | Temp A | Temp B | Small Thermometer | Choose other settings to record | New Gas bottle | Flow rate (L/min) | Choose other settings to record | Cathode HV supply (in kV) | Target ladder bias (in kV) | Choose other settings to record | GGD Low | Offset voltage | Choose other settings to record | Beam Left scintillator | Beam Right scintillator | Start counter | Veto (rear) | Choose other settings to record | Top Plastic | Beam Right Plastic | Beam Left Plastic | Bottom Plastic | Choose other settings to record | R(X1,X2) in Ohms | R(Z1,Z2) in Ohms | Choose target: | Choose other settings to record | Triggering on: | Choose other settings to record | Beam Type | Beam rate | Beam divergence | Choose other settings to record | Run Comments | Choose which settings to record | Please describe the veto | Vetoing on: | Anode voltage (in V) | Magnet Strength | Select this option to manually enter time
10/21/2015 16:10:33 |  | 10/21/2015 16:10:33 |  | Active (veto) Collimator | [19 empty] | this | is | a | test | Last page (submit) | [10 empty] | testing
2015-10-21 16:38 | 2015-10-21 | 10/21/2015 0:00:00 | 1 | Temperatures | 37 | 25 | 25 | 25 | Last page (submit)
2015-10-21 16:53 |  | 10/21/2015 16:53:29 |  | Gas Settings | [7 empty] | Last page (submit) | [26 empty] | this is a comment
2015-10-21 17:02 |  | 10/21/2015 17:01:40 |  | Last page (submit)
2015-10-21 17:08 |  | 10/21/2015 17:08:00 |  | Last page (submit) | [34 empty] | testing
2015-10-21 17:43 | 2015-10-21 | 10/21/2015 0:00:00 | 2 | Temperatures | 25 | 25 | 25 | 25 | Gas Settings |  |  | Field cage voltage | -6000 | -2400 | GGD | 4/9/1900 0:00:00 | 1/24/1900 0:00:00 | Scintillator settings | 12/31/1899 0:00:00 | 1/1/1900 0:00:00 | 1/2/1900 0:00:00 | 1/3/1900 0:00:00 | Target settings | [5 empty] | 4.0624 | 7.888 | Position 1 - 0.1 mm Sn | Trigger conditions | triggering on kyoto | Beam settings | Cosmic | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | Last page (submit) | a comment
2015-10-21 18:12 |  | 10/21/2015 18:12:28 | 2 | Last page (submit)
2015-10-21 18:18 |  | 10/21/2015 18:18:12 | 2 | Last page (submit)
2015-10-21 18:31 | 2015-10-21 18:25 | 10/21/2015 18:25:00 | 2 | Last page (submit)
2015-10-21 20:15 |  | 10/21/2015 20:14:41 | 1.5 | Gas Settings | [7 empty] | Last page (submit)
2015-10-21 20:15 |  | 10/21/2015 20:15:16 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-21 21:16 |  | 10/21/2015 21:16:22 |  | Trigger conditions | [28 empty] | test | Last page (submit)
2015-10-22 00:33 |  | 10/22/2015 0:32:36 | 2 | Field cage voltage | [8 empty] | -6.99 | -2 | GGD | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | Scintillator settings | 2/29/1896 0:00:00 | 2/29/1896 0:00:00 | 2/29/1896 0:00:00 | 2/29/1896 0:00:00 | Last page (submit)
2015-10-22 03:06 | 2015-10-20 13:00 | 10/20/2015 13:00:00 |  | Target settings | [24 empty] | 4.0624 | 7.888 |  | Last page (submit) | [6 empty] | general comments about this submission
2015-10-22 03:10 | 2015-10-19 10:00 | 10/19/2015 10:00:00 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:11 | 2015-10-21 14:26 | 10/21/2015 14:26:00 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:25 |  | 10/22/2015 3:24:53 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:25 |  | 10/22/2015 3:25:15 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:27 |  | 10/22/2015 3:26:35 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 10:32 |  | 10/22/2015 10:31:31 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 10:49 |  | 10/22/2015 10:48:48 |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 14:43 |  | 10/22/2015 14:42:49 | [13 empty] | 9/11/1899 0:00:00 |  | Last page (submit)
2015-10-22 14:50 |  | 10/22/2015 14:49:43 | [31 empty] | Beam settings |  |  |  | Last page (submit) | Beam is hitting the left side
2015-10-22 14:51 |  | 10/22/2015 14:50:52 | [35 empty] | Last page (submit)
2015-10-22 14:51 |  | 10/22/2015 14:51:16 | [32 empty] | Beam Tuning |  |  | Last page (submit)
2015-10-22 14:52 |  | 10/22/2015 14:51:54 | [31 empty] | Beam settings | Beam Tuning |  |  | Last page (submit)
2015-10-22 14:54 |  | 10/22/2015 14:53:33 | [31 empty] | Last page (submit)
2015-10-22 14:59 |  | 10/22/2015 14:59:03 | [30 empty] | Start counter, BL/BR paddles | Last page (submit) | [7 empty] | DS Veto
2015-10-22 15:26 |  | 10/22/2015 15:25:59 |  |  |  | 25.1 | 25.9 | 25.9 | Gas Settings |  |  | Field cage voltage | -6.99 | -2.402 | Scintillator settings |  |  |  | 2/25/1896 0:00:00 | 2/28/1896 0:00:00 | 2/28/1896 0:00:00 | 2/22/1896 0:00:00 | Active (veto) Collimator |  |  |  |  | Last page (submit)
2015-10-22 15:31 |  | 10/22/2015 15:31:29 | [30 empty] | Start counter | Last page (submit)
2015-10-22 15:43 |  | 10/22/2015 15:42:55 | [30 empty] | Start counter | Last page (submit) | [7 empty] | No Veto
2015-10-22 15:44 | 2015-10-22 14:39 | 10/22/2015 14:39:00 | [36 empty] | Checking form submission
2015-10-22 16:01 |  | 10/22/2015 16:01:15 | [13 empty] | 9/11/1899 0:00:00 | 2/18/1900 0:00:00 | Last page (submit)
2015-10-22 22:25 |  | 10/22/2015 22:25:27 |  |  | 35 | 25.5 |  | 26.2 | Scintillator settings | [9 empty] | 2/27/1896 0:00:00 | 2/29/1896 0:00:00 | 2/28/1896 0:00:00 | 2/23/1896 0:00:00 | Trigger conditions | [9 empty] | Start counter | Beam settings | Beam Tuning |  |  | Last page (submit) |  |  |  | No Veto
2015-10-22 22:58 | 2015-10-21 14:26 | 10/21/2015 14:26:00 | [7 empty] | New Gas bottle | 1 | Last page (submit)
2015-10-23 07:21 |  | 10/23/2015 7:20:56 | [26 empty] | 1382 | 5700 |  | Last page (submit)
2015-10-23 08:21 |  | 10/23/2015 8:21:26 | [26 empty] | 1282 | 5721 |  | Last page (submit)
2015-10-23 10:07 |  | 10/23/2015 10:06:37 | [8 empty] | 0.51275 | Last page (submit) | [26 empty] | End of beam time
2015-10-23 10:18 |  | 10/23/2015 10:18:00 | [10 empty] | 0 | 0 | Scintillator settings |  |  |  | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | Active (veto) Collimator | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | Last page (submit) | [10 empty] | Turning off asads and fans also. |  |  |  | 0
2015-10-24 11:15 |  | 10/24/2015 11:15:07 | [9 empty] | Top (first page) | [19 empty] | Last page (submit)
2015-10-24 23:52 |  | 10/24/2015 23:51:40 | [13 empty] | 12/30/1899 0:00:00 | 12/30/1899 0:00:00 | Last page (submit)
2015-10-26 09:41 |  | 10/26/2015 9:41:03 | [9 empty] | Last page (submit)
2015-10-27 17:00 |  | 10/27/2015 16:59:55 | [7 empty] | New Gas bottle | 1 | Last page (submit)
2015-10-27 17:09 |  | 10/27/2015 17:09:08 | 874 | [8 empty] | Last page (submit) | [26 empty] | Daq check
2015-10-27 17:09 |  | 10/27/2015 17:09:27 | 875 | [35 empty] | Daq check
2015-10-27 17:13 |  | 10/27/2015 17:12:57 |  |  | 35 | 25.2 |  | 24.7 | Last page (submit)
2015-10-27 17:17 |  | 10/27/2015 17:16:47 | 875 | [31 empty] | Pulser |  |  | Last page (submit)
2015-10-29 07:11 |  | 10/29/2015 7:10:52 | [9 empty] | Last page (submit)
2015-10-29 07:13 |  | 10/29/2015 7:13:15 | [10 empty] | -6.99 | -2.401 | Last page (submit) |  |  |  | 9/16/1896 0:00:00 | 2/28/1896 0:00:00 | 6/8/1896 0:00:00 | 9/10/1896 0:00:00 | Field cage voltage
2015-10-29 07:18 |  | 10/29/2015 7:18:06 |  |  |  | 26.2 | 26.1 | 26.4 | Last page (submit)
2015-10-29 08:26 |  | 10/29/2015 8:25:57 | [30 empty] | Start counter, Kyoto Array | Last page (submit) |  |  |  |  | Current trigger |  |  | BL/BR paddles, DS Veto
2015-10-29 09:57 |  | 10/29/2015 9:57:03 | [13 empty] | 9/21/1899 0:00:00 |  | Last page (submit)
2015-10-29 14:39 |  | 10/29/2015 14:39:10 | [26 empty] | 360 | 7900 |  | Last page (submit)
2015-10-29 14:44 |  | 10/29/2015 14:44:19 | [10 empty] | -6.98 | -2.4 | Last page (submit)
2015-10-29 15:54 |  | 10/29/2015 15:53:44 |  |  |  | 26.1 | 26.1 | 26.4 | Last page (submit)
2015-10-29 22:03 |  | 10/29/2015 22:03:03 | [8 empty] | 0.5 | Last page (submit)
2015-10-29 22:05 |  | 10/29/2015 22:04:54 |  |  |  | 26.4 | 26.8 | 26.6 | Field cage voltage |  |  |  | 0 | 0 | Scintillator settings | [7 empty] | Last page (submit) | [19 empty] | 0
2015-11-02 17:12 |  | 11/2/2015 17:11:31
2015-11-03 09:29 |  | 11/3/2015 9:28:43 | [26 empty] | 359.8 | 5690 |  | Last page (submit)
2015-12-03 13:46 | 2015-11-26 17:30 | 11/26/2015 17:30:00 | [26 empty] | 5.67 | 1281 |  | Last page (submit)
2016-01-11 23:59 |  | 1/11/2016 23:59:07 | testing | [25 empty] | 360 | 5690 |  | Last page (submit) | [6 empty] | testing
2016-01-12 00:05 |  | 1/12/2016 0:05:13 | testing | [25 empty] | 360 | 7900 |  | Last page (submit) | [6 empty] | testing
2016-02-01 14:12 |  | 2/1/2016 14:12:01 | [26 empty] | 1180 | 6140 |  | Last page (submit)
2016-03-25 20:41 |  | 3/25/2016 20:41:21 | [8 empty] | 1 | Last page (submit)
2016-03-25 20:43 |  | 3/25/2016 20:43:13 | [7 empty] | New Gas bottle | 1 | Last page (submit)
2016-04-28 16:51 |  | 4/28/2016 16:51:25 | 105 | [31 empty] | 79 Se | 10^5 | 2/1/1900 0:00:00 | Last page (submit) | [5 empty] | 0.5

## R
Timestamp | Use this option to manually set the time for this submission | actual time | Run Number: | Choose other settings to record | Maximum AsAd Temperature | Temp A | Temp B | Small Thermometer | Choose other settings to record | New Gas bottle | Flow rate (L/min) | Choose other settings to record | Cathode HV supply (in kV) | Target ladder bias (in kV) | Choose other settings to record | GGD Low | Offset voltage | Choose other settings to record | Beam Left scintillator | Beam Right scintillator | Start counter | Veto (rear) | Choose other settings to record | Top Plastic | Beam Right Plastic | Beam Left Plastic | Bottom Plastic | Choose other settings to record | R(X1,X2) in Ohms | R(Z1,Z2) in Ohms | Choose target: | Choose other settings to record | Triggering on: | Choose other settings to record | Beam Type | Beam rate | Beam divergence | Choose other settings to record | Run Comments | Choose which settings to record | Please describe the veto | Vetoing on: | Anode voltage (in V) | Magnet Strength | Bubble Verified? | Regulator Pressure Low? | Average voltage | GGD High | New Gas bottle | Select this option to manually enter time
2015-10-21 16:11 |  | 10/21/2015 16:10:33 |  | Active (veto) Collimator | [19 empty] | this | is | a | test | Last page (submit) | [10 empty] | testing
2015-10-21 16:38 | 2015-10-21 | 10/21/2015 | 1 | Temperatures | 37 | 25 | 25 | 25 | Last page (submit)
2015-10-21 16:53 |  | 10/21/2015 16:53:29 |  | Gas Settings | [7 empty] | Last page (submit) | [26 empty] | this is a comment
2015-10-21 17:02 |  | 10/21/2015 17:01:40 |  | Last page (submit)
2015-10-21 17:08 |  | 10/21/2015 17:08:00 |  | Last page (submit) | [34 empty] | testing
2015-10-21 17:43 | 2015-10-21 | 10/21/2015 | 2 | Temperatures | 25 | 25 | 25 | 25 | Gas Settings |  |  | Field cage voltage | -6000 | -2400 | GGD | 100 | 25 | Scintillator settings | 1 | 2 | 3 | 4 | Target settings | [5 empty] | 4.0624 | 7.888 | Position 1 - 0.1 mm Sn | Trigger conditions | triggering on kyoto | Beam settings | Cosmic | 0 | 0 | Last page (submit) | a comment
2015-10-21 18:12 |  | 10/21/2015 18:12:28 | 2 | Last page (submit)
2015-10-21 18:18 |  | 10/21/2015 18:18:12 | 2 | Last page (submit)
2015-10-21 18:31 | 2015-10-21 18:25 | 10/21/2015 18:25:00 | 2 | Last page (submit)
2015-10-21 20:15 |  |  | 1.5 | Gas Settings | [7 empty] | Last page (submit)
2015-10-21 20:15 |  |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-21 21:16 |  |  |  | Trigger conditions | [28 empty] | test | Last page (submit)
2015-10-22 00:33 |  |  | 2 | Field cage voltage | [8 empty] | -6.99 | -2 | GGD | 0 | 0 | Scintillator settings | -1400 | -1400 | -1400 | -1400 | Last page (submit)
2015-10-22 03:06 | 2015-10-20 13:00 |  |  | Target settings | [24 empty] | 4.0624 | 7.888 |  | Last page (submit) | [6 empty] | general comments about this submission
2015-10-22 03:10 | 2015-10-19 10:00 |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:11 | 2015-10-21 14:26 |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:25 |  |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:25 |  |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 03:27 |  |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 10:32 |  |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 10:49 |  |  |  | Gas Settings | [7 empty] | Last page (submit)
2015-10-22 14:43 | [15 empty] | -110 |  | Last page (submit) | [21 empty] | GGD
2015-10-22 14:50 | [33 empty] | Beam settings |  |  |  | Last page (submit) | Beam is hitting the left side | Trigger conditions
2015-10-22 14:51 | [37 empty] | Last page (submit) |  | Beam settings
2015-10-22 14:51 | [34 empty] | Beam Tuning |  |  | Last page (submit) |  | Beam settings
2015-10-22 14:52 | [33 empty] | Beam settings | Beam Tuning |  |  | Last page (submit) |  | Trigger conditions
2015-10-22 14:54 | [33 empty] | Last page (submit) | [5 empty] | Trigger conditions
2015-10-22 14:59 | [32 empty] | Start counter, BL/BR paddles | Last page (submit) | [5 empty] | Trigger conditions |  | DS Veto
2015-10-22 15:26 | [5 empty] | 25.1 | 25.9 | 25.9 | Gas Settings |  |  | Field cage voltage | -6.99 | -2.402 | Scintillator settings |  |  |  | -1404 | -1401 | -1401 | -1407 | Active (veto) Collimator |  |  |  |  | Last page (submit) | [11 empty] | Temperatures
2015-10-22 15:31 | [32 empty] | Start counter | Last page (submit) | [5 empty] | Trigger conditions
2015-10-22 15:43 | [32 empty] | Start counter | Last page (submit) | [5 empty] | Trigger conditions |  | No Veto
2015-10-22 15:44 | 2015-10-22 14:39 | [37 empty] | Checking form submission | Last page (submit and run comments)
2015-10-22 16:01 | [15 empty] | -110 | 50 | Last page (submit) | [21 empty] | GGD
2015-10-22 22:25 |  |  |  |  | 35 | 25.5 |  | 26.2 | Scintillator settings | [9 empty] | -1402 | -1400 | -1401 | -1406 | Trigger conditions | [9 empty] | Start counter | Beam settings | Beam Tuning |  |  | Last page (submit) |  | Temperatures |  | No Veto
2015-10-22 22:58 | 2015-10-21 14:26 | [8 empty] | New Gas bottle | 1 | Last page (submit) | [27 empty] | Gas Settings
2015-10-23 07:21 | [28 empty] | 1382 | 5700 |  | Last page (submit) | [7 empty] | Target settings
2015-10-23 08:21 | [28 empty] | 1282 | 5721 |  | Last page (submit) | [7 empty] | Target settings
2015-10-23 10:07 | [10 empty] | 0.51275 | Last page (submit) | [26 empty] | End of beam time | Gas Settings
2015-10-23 10:18 | [12 empty] | 0 | 0 | Scintillator settings |  |  |  | 0 | 0 | 0 | 0 | Active (veto) Collimator | 0 | 0 | 0 | 0 | Last page (submit) | [10 empty] | Turning off asads and fans also. | Field cage voltage |  |  | 0
2015-10-24 11:15 | [11 empty] | Top (first page) | [19 empty] | Last page (submit) | [7 empty] | Target settings
2015-10-24 23:52 | [15 empty] | 0 | 0 | Last page (submit) | [21 empty] | GGD
2015-10-26 09:41 | [11 empty] | Last page (submit) | [27 empty] | Gas Settings | [5 empty] | Right Range - Low
2015-10-27 17:00 | [9 empty] | New Gas bottle | 1 | Last page (submit) | [27 empty] | Gas Settings |  |  |  |  | Bubble visible
2015-10-27 17:09 |  |  | 874 | [8 empty] | Last page (submit) | [26 empty] | Daq check | Gas Settings
2015-10-27 17:09 |  |  | 875 | [35 empty] | Daq check | Last page (submit and run comments)
2015-10-27 17:13 |  |  |  |  | 35 | 25.2 |  | 24.7 | Last page (submit) | [30 empty] | Temperatures
2015-10-27 17:17 |  |  | 875 | [31 empty] | Pulser |  |  | Last page (submit) |  | Beam settings
2015-10-29 07:11 | [11 empty] | Last page (submit) | [27 empty] | Gas Settings |  |  |  |  | Bubble visible
2015-10-29 07:13 | [12 empty] | -6.99 | -2.401 | Last page (submit) |  |  |  | -1200 | -1401 | -1300 | -1206 | Field cage voltage | [16 empty] | Scintillator settings
2015-10-29 07:18 | [5 empty] | 26.2 | 26.1 | 26.4 | Last page (submit) | [30 empty] | Temperatures
2015-10-29 08:26 | [32 empty] | Start counter, Kyoto Array | Last page (submit) |  |  |  |  | Current trigger | Trigger conditions |  | BL/BR paddles, DS Veto
2015-10-29 09:57 | [15 empty] | -100 |  | Last page (submit) | [21 empty] | GGD | [7 empty] | -64
2015-10-29 14:39 | [28 empty] | 360 | 7900 |  | Last page (submit) | [7 empty] | Target settings
2015-10-29 14:44 | [12 empty] | -6.98 | -2.4 | Last page (submit) | [24 empty] | Field cage voltage
2015-10-29 15:54 | [5 empty] | 26.1 | 26.1 | 26.4 | Last page (submit) | [30 empty] | Temperatures
2015-10-29 22:03 | [10 empty] | 0.5 | Last page (submit) | [27 empty] | Gas Settings |  |  |  |  | Bubble visible
2015-10-29 22:05 | [5 empty] | 26.4 | 26.8 | 26.6 | Field cage voltage |  |  |  | 0 | 0 | Scintillator settings | [7 empty] | Last page (submit) | [16 empty] | Temperatures |  |  | 0
2015-11-02 17:12 | [39 empty] | Last page (submit and run comments)
2015-11-03 09:29 | [28 empty] | 359.8 | 5690 |  | Last page (submit) | [7 empty] | Target settings
2015-12-03 13:46 | 2015-11-26 17:30 | [27 empty] | 5.67 | 1281 |  | Last page (submit) | [7 empty] | Target settings
2016-01-11 23:59 |  |  | testing | [25 empty] | 360 | 5690 |  | Last page (submit) | [6 empty] | testing | Target settings
2016-01-12 00:05 |  |  | testing | [25 empty] | 360 | 7900 |  | Last page (submit) | [6 empty] | testing | Target settings
2016-02-01 14:12 | [28 empty] | 1180 | 6140 |  | Last page (submit) | [7 empty] | Target settings
2016-03-25 20:41 | [10 empty] | 1 | Last page (submit) | [27 empty] | Gas Settings |  |  |  |  | Bubble visible
2016-03-25 20:43 | [9 empty] | New Gas bottle | 1 | Last page (submit) | [27 empty] | Gas Settings |  |  |  |  | Bubble visible
2016-04-28 16:51 |  |  | 105 | [31 empty] | 79 Se | 10^5 | 33 | Last page (submit) |  | Beam settings |  |  |  | 0.5